**MEETING AGENDA**

**Organization: TIA TR42 Thermal Performance of 1-Pair Cables Task Group**

**Chair: Todd Harpel – todd.harpel@leviton.com**

**Date: Friday, October 16th, 2020**

**Time: 10 a.m. - 11 a.m. EDT**

**Meeting Minutes**

**IMPORTANT NOTICE OF PARTICIPATION**

Participation in, or attendance at, any activity of a TIA Formulating Group or any sub element thereof, constitutes acceptance of and agreement to be bound by all provisions of the current TIA Procedures for American National Standards (PANS) and the TIA Engineering Committee Operating Procedures (ECOP), including but not limited to all competition and antitrust laws.  Participation in, or attendance at, any activity of a TIA Formulating Group or any sub element thereof, also constitutes acceptance of and agreement  to permission that all communications and statements, oral or written, or other information disclosed or presented, and any translation or derivative thereof, may without compensation, and to the extent such participant or attendee may legally and freely grant such copyright rights, be distributed, published, and posted on TIA’s web site, in whole or in part, on a non-exclusive basis by TIA or TIA’s licensees or assignees, or as TIA directs. Exceptions to the foregoing may be granted or permitted in writing to the Chair of the Formulating Group by the head of the TIA Standards Department on a case-by-case basis.

TIA is actively seeking participation in TR-42.7 standards projects from the user and general interest communities.

Agenda

Administrative

Call to order

Attendance

Members of the task group marked as present participated in the meeting.

|  |  |  |  |
| --- | --- | --- | --- |
| P | Member | Company |  |
| P | Bob Voss | Panduit | Bob.Voss@panduit.com |
|  | Chris Dominico | MC Communications | cdimi80749@aol.com |
| P | Dave Hess | Cord Data | dave.hess@corddata.org |
|  | Paul Vanderlaan | UL | [paul.vanderlaan@ul.com](mailto:paul.vanderlaan@ul.com) |
| P | Brian Celella | Siemon | Brian\_Celella@siemon.com |
| P | Anthony Tassone | UL | Anthony.t.tassone@us.ul.com |
| P | Darshana Bhatt | Sterlite | darshana.bhatt@sterlite.com |
| P | Wayne Hopkinson | CommScope | Wayne.Hopkinson@commscope.com |
| P | Sterling Vaden | Vaden Enterprises | [Sterlingv@charter.net](mailto:Sterlingv@charter.net) |
| P | Fred Dawson | Chemours | [fred.c.dawson@chemours.com](mailto:fred.c.dawson@chemours.com) |
|  | Ron Tellas | Belden | [ronald.tellas@belden.com](mailto:ronald.tellas@belden.com) |
|  | David Bain | TIA | dbain@tiaonline.org |
| P | Olindo Savi | Hubbell-Premise Wiring | osavi@hubbell-premise.com |
| P | Mark Dearing | Leviton | mdearing@leviton.com |
| P | Jeff Poulsen | Leviton | jpoulsen@leviton.com |

Intellectual Property Rights Policy

"TIA's Intellectual Property Rights Policy can be found in Statements of Policy (ANNEX C) and other clauses and annexes of this document. Participants in the work of the TIA Formulating Groups are urged to review the appropriate sections. Individual participants are encouraged to notify TIA of any patent(s) or published pending patent application(s) of which they are aware that may be essential to the practice of a proposed TIA Publication, including requirements introduced through normative references, early on in the development to reduce the possibility for delays in the development process and increase the likelihood that the proposed TIA Publication will become a Standard. However, a Patent Holder who has provided TIA with a TIA Patent Holder Statement with respect to the applicable proposed TIA Publication need not (but may elect to) identify its specific patent(s) or published pending patent application(s) that may be essential to the practice of the proposed TIA Publication in question. Patent searches are not required to comply with the TIA Intellectual Property Rights Policy."

Agenda review and approval

TR42\_7 Thermal Performance of 1-Pair Cabling Agenda- Meeting 4 – Approved

Previous meeting report review and approval

* TIA Thermal Performance of 1-Pair task group Meeting Report - Meeting 3

Distribution of documents and contributions

* Agenda for meeting 4
* TIA Thermal Performance of 1-Pair task group Meeting Report - Meeting 3
* STL Single Pair Ethernet PoE Thermal Performance.pdf – Sterlite Technologies

Discussion and review of contributions

STL Single Pair Ethernet PoE Thermal Performance.pdf – Sterlite Technologies

Darshana reviewed the Sterlite contribution showing measured temperature rise for a 23 AWG S/FTP (solid conductor) single-pair cable in bundle sizes of 37 and 61 cables at currents of 0.5A and 2.0A.

Darshana showed a table with different bundle sizes and additional current values that she indicated would be filled in going forward with measured data.

It was requested that the steps between 0.5A and 2.0A be in increments of 0.5A

There was discussion on whether an 18AWG cable should be stranded or solid.

Wayne Hopkinson did not think that the temperature rise would be significantly different as long as the cable constructions were similar.

Bob Voss mentioned that he may have some data on a solid conductor 18AWG bundle to present in the future that could be compared to previous data on a stranded cable bundle with 18AWG conductors.

Sterling mentioned that it might be useful to measure the surface temperature of the bundle during the testing. This could lead to a way of correlating the bundle surface temp to the temperature of a cable at the center of the bundle. Additionally it would be useful to insert temp probes at each layer of a bundle to create a temp profile across the bundle.

Old Business/Action Items

## Chris D. and Bob V. to apply data from CommScope model to previously submitted measured data. – No report for this meeting.

## 

Next meetings

* Friday October 30th, 10:00 a.m. – 11:00 a.m. EDT

Adjournment

The meeting was conducted in accordance with TIA Engineering Manual and concluded at 10:45.